## Grid
cost_MainGrid | rev_FCR | cost_feed_in
10 | 5 | 7.5
5 | 2.5 | 3.75
1 | 0.5 | 0.75
5 | 2.5 | 3.75
10 | 5 | 7.5
10 | 5 | 7.5
5 | 2.5 | 3.75
1 | 0.5 | 0.75
5 | 2.5 | 3.75
10 | 5 | 7.5

## Reservoir
cost_Reservoir0 | cost_Reservoir1

## Pipe
cost_Pipe1

## HydroSwitch
cost_HySw1

## Pump
cost_Pump1

## NewPump
cost_PumpNew
10

## Turbine
cost_Turb1
2

## Source
cost_R1out

## EB
cost_EB1

## SolarPV
cost_PV1
10

## Battery_MV
cost_Battery1
10

## Battery_FCR
cost_Battery1
10