## Slide 1
April 2023
PMT monthly call

## Slide 2: Agenda AGISTIN PMT
Welcome and adoption of the Agenda
Follow up of action points
Coordinator issues (Financial, contractual, operational planning)
Progress with deliverables and milestones
Reporting on events attended and plans for future events
Reports on WP progress (WP leader)
Any other business

## Slide 3: Participants
EEU (Coord) (WP1) (WP7) | Gianluca, Eunice
RINA (WP2) | 
Uni Kassel (WP3) | 
Fraunhofer (WP4) | Siddhi, Christoph
Shell (WP5) | Martijn
UPC (WP6) | Eduardo
RTE | Thibault
Cartif | Roberto
CIEMAT | Angel
Geyser | Daria
Infrastrcures Cat | 
EASE | Maria
ETH Zurich | 

## Slide 4: Follow up of action points
AP # | Description | Responsible | Status
1 |  |  | 
2 |  |  | 
3 |  |  | 

## Slide 5: Progress with deliverables and milestones
Next Deliverables
  D1.2 – Data Management Plan (EEU) (M6 – June 2023)
  D7.1 – First DEC Plan (EEU) (M6 – June 2023)
Milestones
  MS2: Innovative energy storage integration requirements, incentives and constraints (RTE) (M6 – June 2023)
    Excel spreadsheet prepared and discussed with partners
    Short explanation video prepared
    Fill in the full excel by June

## Slide 6: Case 1
Chart: Time steps (hrs)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Frequency | 50.029 | 50.043 | 50.087 | 49.853 | 49.833 | 49.899 | 49.858 | 50.111 | 49.962 | 49.811 | 50.046 | 49.837 | 49.872 | 49.836 | 49.884 | 49.92 | 49.919 | 49.98 | 49.961 | 49.917 | 50.164 | 50.19 | 49.821 | 49.844
db+ | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01 | 50.01
db- | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99 | 49.99
P
Chart: TSO demanded FCR Charging & Discharing profile BESS 4.8 MW
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | -0.696 | -1.032 | -2.088 | 3.528 | 4.008 | 2.424 | 3.408 | -2.664 | 0.912 | 4.536 | -1.104 | 3.912 | 3.072 | 3.936 | 2.784 | 1.92 | 1.944 | 0.48 | 0.936 | 1.992 | -3.936 | -4.56 | 4.296 | 3.744

## Slide 7: Battery Model: Constraints
def Constraint_Pout(b, t,): return b.Pout[t] == (b.P_FCRCharge[t] + b.P_FCRDisCharge[t]) b.c_Pout = pyo.Constraint(t, rule = Constraint_Pout)
def Constraint_P_FCRCharge(b, t): return b.P_FCRCharge[t] <= b.Pdim_FCR b.c_P_FCRCharge = pyo.Constraint(t, rule=Constraint_P_FCRCharge)
def Constraint_P_FCRCharge_1(b, t,): return b.P_FCRCharge[t] <= (50 - (b.Fup[t])) * (b.Pdim_FCR) * b.slope_fcr b.c_P_FCRCharge_1 = pyo.Constraint(t, rule = Constraint_P_FCRCharge_1)
def Constraint_P_FCRDisCharge(b, t,): return b.P_FCRDisCharge[t] >= (50 - (b.Fdown[t])) * (b.Pdim_FCR) * b.slope_fcr
b.c_P_FCRDisCharge = pyo.Constraint(t, rule = Constraint_P_FCRDisCharge)
def Constraint_EnerStorg(b, t): if t==0: return b.EnerStorg[t] == (b.E0) + (b.P_FCRCharge[t]) + (b.P_FCRDisCharge[t]) else: return b.EnerStorg[t] == b.EnerStorg[t-1] + (b.P_FCRCharge[t]) + (b.P_FCRDisCharge[t]) b.c_EnerStorg= pyo.Constraint(t, rule = Constraint_EnerStorg)
#def Constraint_Edim_FCR(b): # return b.Edim_FCR <= 4*(b.Pdim_FCR) #b.c_Edim_FCR = pyo.Constraint (rule = Constraint_Edim_FCR)
def Constraint_Edim_FCR_1(b, t): return b.EnerStorg[t] <= b.Edim_FCR b.c_Edim_FCR_1 = pyo.Constraint(t, rule = Constraint_Edim_FCR_1)
# Variables b.Pdim_FCR = pyo.Var(initialize=0, bounds=(0, 4.8)) # Power capacity of the battery for FCR provision , bounds=(0, 480000) b.Edim_FCR = pyo.Var(initialize=0) # Power capacity of the battery for FCR provision b.P_FCRCharge = pyo.Var( t, initialize={k:0.0 for k in range(len(t))}) # Power demanded according the current frequency b.P_FCRDisCharge = pyo.Var( t, initialize={k:0.0 for k in range(len(t))}, bounds=(-4.80, 0)) # Power demanded according the current frequency b.EnerStorg = pyo.Var(t,initialize={k:0.0 for k in range(len(t))}, within=pyo.NonNegativeReals) b.Pout = pyo.Var(t, initialize={k:0.0 for k in range(len(t))}, within=pyo.Reals)
# Parameters b.E0 = pyo.Param(initialize=data['E0']) # Energy storage at the battery at the beggiing of the simulation (_t=0) b.slope_fcr = pyo.Param(initialize=data['slope_fcr']) # statik for the FCR ( 100% power by a 200mH deviation) b.Fup = pyo.Param(t, initialize=data['FCharge']) # Grid frequency > 50 (time serie) b.Fdown = pyo.Param(t, initialize=data['FDisCharge']) # Grid frequency < 50 (time serie)

## Slide 8: Case 1 - TSO demanded FCR Charging & Discharing profile BESS
Chart: P_FCR[t]: TSO demanded FCR Charging & Discharing profile BESS 4.8 MW
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | -0.696 | -1.032 | -2.088 | 3.528 | 4.008 | 2.424 | 3.408 | -2.664 | 0.912 | 4.536 | -1.104 | 3.912 | 3.072 | 3.936 | 2.784 | 1.92 | 1.944 | 0.48 | 0.936 | 1.992 | -3.936 | -4.56 | 4.296 | 3.744
Parameters
Rated frequency: 50 Hz
BESS[MW]: 4.8 M
Frequency: f[t]
FCR Gradient: ∆_FCR
P_FCR[t]: (50 - f[t])* BESS[MW]* ∆_FCR

## Slide 9: Case 1 - Results
Max_BESS (MW)= 4.8
Initial SCO: 4 MWh
PV_Init_Installed: 2.4 M
Chart: Total P_FCR demanded for Charging an Discharging in 24 hours
| Total__FCR_Charging_demanded | Total__FCR_DisCharging_demanded
 | 16.08 | 31.752
The P_FCR_Supplied is not mathing the demand, since the total energy demanded for dischargin is lowe than the energy storaged because of charging, plus the initial SOC. Because of that, the solver adjust the values so that the requierment of the last time steps ar fullfiled.
Chart: TSO demanded FCR Charging & Discharing profile BESS 4.8 MW
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
P_FCR_Demanded | -0.696 | -1.032 | -2.088 | 3.528 | 4.008 | 2.424 | 3.408 | -2.664 | 0.912 | 4.536 | -1.104 | 3.912 | 3.072 | 3.936 | 2.784 | 1.92 | 1.944 | 0.48 | 0.936 | 1.992 | -3.936 | -4.56 | 4.296 | 3.744
P_FCR_Supplied | -0.696 | -1.032 | -2.088 | 0.90258 | 1.2474 | 1.104 | 1.5086 | -2.664 | 0.90816 | 1.459 | -1.104 | 0.0084177 | 0.0081407 | 0.51186 | 0.0089188 | 0.69637 | 1.4795 | 0.0013796 | 0.35296 | 1.3866 | -3.8923 | -4.1477 | 4.296 | 3.744
MWh_Storaged | 4.696 | 5.728 | 7.816 | 6.9134 | 5.666 | 4.562 | 3.0533 | 5.7173 | 4.8092 | 3.3502 | 4.4542 | 4.4458 | 4.4377 | 3.9258 | 3.9169 | 3.2205 | 1.741 | 1.7396 | 1.3866 | 0 | 3.8923 | 8.04 | 3.744 | 0

## Slide 10: Case 1 - Results
PV_add_Int: 1.77 MW
BESS_MWh_Required: 7.816 MWh
BESS_MWh_Required: 4.8 Mwh
In oder to maximize the objective function the solver try reach the maximun possible BESS powe capacity
Whe FCR ask for charging, the PV power goes to the BESS, the remaining power goes to the grid
Chart: Time steps (Mwh)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
PV_forecast | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P_Grid | 1.392 | 1.056 | -8.4039e-09 | 2.87 | 2.9919 | 3.2002 | 3.3201 | -0.576 | 2.8614 | 3.0868 | 0.984 | 0.078604 | 0.11606 | 0.2877 | 0.66783 | 0.99271 | 1.2499 | 0.23794 | 0.66191 | 1.4889 | -3.8631 | -3.9529 | 4.1579 | 3.6581
P_FCR_Supplied | -0.696 | -1.032 | -2.088 | 0.90258 | 1.2474 | 1.104 | 1.5086 | -2.664 | 0.90816 | 1.459 | -1.104 | 0.0084177 | 0.0081407 | 0.51186 | 0.0089188 | 0.69637 | 1.4795 | 0.0013796 | 0.35296 | 1.3866 | -3.8923 | -4.1477 | 4.296 | 3.744
EXIT: Optimal Solution Found.
Pdim_FCR : Size=1, Index=None
Key : Lower : Value : Upper : Fixed : Stale : Domain
None : 0 : 4.8 : 4.8 : False : False : Reals
Pdim : Size=1, Index=None
Key : Lower : Value : Upper : Fixed : Stale : Domain
None : 0 : 1.7760000222586665 : 100000 : False : False : NonNegativeReals
Edim_FCR : Size=1, Index=None
Key : Lower : Value : Upper : Fixed : Stale : Domain
None : None : 7.816000029087755 : None : False : False : Reals

## Slide 11: Case 1: Assumptions
PV-Forecast
Costs
Objective function
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
PV_forecast | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 2.088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
def obj_fun(m): return ((sum(((m.Battery.P_FCRCharge[t]*22) + (m.Battery.P_FCRDisCharge[t])*-44 for t in l_t)) ) - (cost_new_battery_MW*m.Battery.Pdim_FCR) - (cost_new_battery_MWh*m.Battery.Edim_FCR)) - (cost_new_pv*m.PV.Pdim) m.goal = pyo.Objective(rule=obj_fun, sense=pyo.maximize)
cost_new_battery_MW = 55 # Euros/day cost_new_battery_MWh = 82 # Euros/day cost_new_pv = 1.1 # Euros/day

## Slide 12: Case 1.1

## Slide 13: Case 1.2

## Slide 14: Reporting on events attended
EPRI European Workshop, March 14-16 Vienna
  AGISTIN rollup
BRIDGE General Assembly, March 28-30 Brussels
  Gianluca joined representing AGISTIN
  Poster session organized by BRIDGE
  Upcoming activities in BRIDGE WGs will be communicated soon

## Slide 15: Plans for future events
Hydropower projects cluster event, June 14 Brussels
  Project officer invited AGISTIN to join
  UPC willing to join
  Check if communication material
EUSEW
  Session not approved
ENLIT 2023, End of November Paris
Joint event or session with HE IPLUG could be organized
HE H2GLASS cooperation
UPC and ETH workshop/course in Barcelona (time TBD)

## Slide 16: WP2: Identification and enabling innovative business models for energy storage integration with grid users
Status
  Services list prepared by RTE and discussed with partners
  Explanation video in preparation
Next steps
  To prepare the questionnaire and have stakeholders fill it in

## Slide 17: WP3: Enhanced AGI Design for inclusion of innovative forms of storage
Status
Next steps

## Slide 18: WP4: Performance assessment for AGI-integrated innovative storage for industrial processes
Status
  Meetings with Geyser for battery requirements and delivery schedule
  Discussions for FHG lab test setup planning
  Use cases definition (Peak Shaving main one)
Next steps
  Setting up lab

## Slide 19: WP5: Demonstration of AGI-integrated innovative storage for green H2 production
Starts in M8 (August 2023)
Emmen site design ongoing
Involvement of municipality and Emmen community
Finalizing permits (2 months)
Finalizing FEED

## Slide 20: WP6: Demonstration of AGI-integrated innovative storage for large pumping loads
Status
  Task 4.6 related to WP6. Preparation of sizing tools
  Development of optimization software, modular approach
  Initial results being gathered and optimization validation
  Discussion with ICAT for installation
  Possible contacts with other Irrigation canals (Additional validation of tools)
Next steps
  Continue sizing tool development/validation
  Coordinate with EPRI
  Deploy sensors in preparation of field trial

## Slide 21: WP7: Dissemination, Communication and Exploitation
Status
Next steps

## Slide 22: Coordination issues
Deliverables review process
INGETEAM replacement
Monthly PMT
Next Project meetings

## Slide 23: Deliverables review process
For ensuring the proper level of quality for the deliverables of the project, the process foresees the following steps for the creation, writing and revision of project's deliverables:
Deliverable planning
Document preparation
Document review
Quality check
A table with assigned reviewers has been prepared and stored in Sharepoint

## Slide 24: INGETEAM replacement
A call with TeknoCEA was organized already. Discussion and feedback was positive
EATON is not responsive enough
  Last chance to schedule call by Friday
Set date for General Assembly mid May in any case

## Slide 25: Monthly PMT
Set a recurring appointment
  Last Wednesday of each month, 10:00-11:30 CET? 15:00-16:30 CET?
  Send email to WP1 to confirm
  Send appointment for 2023

## Slide 26: Next project meetings
September-October 2023 in person
  Location TBD (Partners to volunteer if possible)
  Project meeting and General Assembly
  Could include Advisory Board
February-March 2024 online
  Project meeting and review planning
  Could include Advisory Board
June-July 2024 in person
  Project review with the commission in Brussels

## Slide 27: AOB
Advisory Board members to be contacted
Once September meeting location and date confirmed we could eventually organize for AB meeting